Cryostat Sectioning Protocol

Set up:

- Equipment:

  - Cryostat set to -25°C

  - Sectioning chucks, forceps, and 2-3 fine-tipped paint brushes, also cooled to -25°C

  - Frozen Section Medium (Richard-Allan Scientific, Reorder # 6502)

  - PBS

  - Multi-well plates

    - Labeled for desired sections

    - Filled with PBS

Mounting and Freezing Brains:

- Remove brain from fixation tube

- Place in dissection block for trimming

  - For Hippocampal sections, remove Cerebellum and tissue rostral to Mammillary Body

  - Save this tissue in fixation tube

- Cover middle of sectioning chuck with Frozen Section Medium

- Set brain in Medium such that rostral is pointing toward you and dorsal is pointing up – place in cryostat and allow to freeze

Sectioning:

- Once brain is frozen (~10-15 min), begin sectioning

- Set “Trim” to 100µm

- Slice into brain until you find the region of interest (i.e., the Hippocampus)

  - Sections will roll up and need to be brushed away periodically

- Set “Trim” to 30µm

- Lower the sectioning window (sections should now lay flat under window)

- With small paint brush, pick up a section and dip it into appropriate well of multi-well plate

- When as many sections as needed have been cut, place remaining brain from sectioning chuck back into fixation tube and store at 4°C