## Sheet1
EM equipment | Titan Krios
Voltage (kV) | 300
Detector | Gatan K3
Energy filter | Gatan bioquantum, 20 eV
Super-resolution mode | Yes
Pixel size (Å) | 1.34
Total electron dose (e-/Å2) | 102
Dose rate (e-/Å2/s ) | 4.2
Frame number | 10
Acquisition scheme | -60/60°, 3°
Defocus range (μm) | -1.5 to -3.5
Number of tilt-series | 6
Software | Etomo, emClarity
Number of sub-tomograms | 6
Particle number | 4826
Symmetry applied | O
Resolution at 0.143 FSC | 2.86 Å
Data deposited | EMPIAR-10787