## Sheet1
Table 1: Valid sampling threshold criteria of PM2.5 and CO monitors
Instrument | Parameters | Threshold
ECM | Flow | 0.285 to 0.315 lpm
| Sample duration | 1296 to 1584 min
| Nephlometry negative | 10%
| Inlet pressure | 5%
| Temperature | 0 to 50° C
| Relative humidity | 85%
| Accelerometer compliance | 0.02
CO data logger | Sample duration | 1296 to 1584 min
| Daily average | 6.1ppm
| Baseline shift | 5ppm
Note - Due to sensitivity of the accelerometer, values outside of expected ranges were flagged but not excluded from analyses.