## Sheet1
Table 1
Microscope | Zeiss LSM 800 with Airyscan, Axio Observer Z.1
Microscope software | ZEN System 3.0 Blue Edition
Objective | Zeiss Plan-Apochromat 40x/0,95 Korr M27
96-well Sample Holder | Zeiss Universal mounting frame K-X 451353-0000-000
Module | Track 1: 488 | Track 2: DAPI | Track 3: 546
Pinhole | 1 AU/48 µm | 1 AU/42 µm | 1 AU/56 µm
Laser Wavelength | 488 nm: 2.5% | 405 nm: 1.7% | 561 nm: 1.5%
Scan Mode | Frame | Frame | Frame
Scan Zoom | 1 | 1 | 1
Scan Speed | 6 | 6 | 6
Scan Direction | Bidirectional | Bidirectional | Bidirectional
Line Step | 1 | 1 | 1
Averaging | 2 | 2 | 2
Dye Name | AF488 | DAPI | AF546
Excitation Wavelength | 493 | 353 | 557
Emission Wavelength | 517 | 465 | 572
Detection Wavelength | 400-650 | 400-605 | 400-625
Imaging Device | GaAsP-Pmt1 | GaAsP-Pmt1 | GaAsP-Pmt1
Detector Type | GaAsP-PMT | GaAsP-PMT | GaAsP-PMT
Detector Gain | 600 V | 600 V | 670 V
Detector Offset | 0 | 0 | 0
Detector Digital Gain | 1 | 1 | 1