## Sheet1
Comparison Item | Traditional Automated TMA Method | Manual Self-made Method
Core Equipment | Fully automated tissue microarray instrument | Manual puncher ($7-42 each)
Equipment Modules | Sample positioning system, Puncture collection system, Array arrangement system, Software control system | Paraffin molds ($28-70)
Equipment Cost | $35,000-112,000 (High-end models >$140,000) | Basic tools total cost <$140
Special Consumables | Puncture needles ($7-28 each) + Recipient wax blocks ($7-14 each) | Regular lab supplies (<$70)
Annual Maintenance | $4,200-7,000 | None
Cost per Sample | $21-39 | Very low (sample-dependent)
Throughput | High | Relatively low
Precision | High | Operator-dependent
Technical Threshold | High | Low
Application Scenarios | Large labs/Commercial platforms | Small-scale research
Main Advantages | High throughput, High precision | Ultra-low cost, Flexible operation
Main Disadvantages | High initial investment, Maintenance costs | Limited throughput, Operator skill-dependent