## Blad1
Two-photon microscope
Hardware | Supplier
SP8 confocal microscope | Leica Microsystems
Confocal 488nm laser | Leica Microsystems
DeepSee laser (fixed 1040nm laser, Tunable 640-1300 nm laser) | SpectraPhysics
25x objective (HC FLUOTAR L, 25x/0.95 WATER) | Leica Microsystems
10x objective (HC PL FLUORAR, 10x/0.30 DRY) | Leica Microsystems
1x Tunable PMT | Leica Microsystems
2x fixed RLD/HyD | Leica Microsystems
Filter block FITC (525/50nm) | Leica Microsystems
Filter block TRITC (585/40nm) | Leica Microsystems
Beam splitter (560nm) | Leica Microsystems
HXP light source | Leica Microsystems
HXP Emission filter | Leica Microsystems
ORCA high-speed CCD camera | Hamamatsu
Filter coupled laser source (780nm, polarized) | ThorLabs
Costom made microscope heating chamber | Custom made
ECG trigger unit | Rapid Biomedical