Supplementary File 1

Full Spectronaut parameter settings

DIA data analysis

- Navigate to the Analysis tab in Spectronaut and select ‘Set up a directDIA™ Analysis from Folder’. Import the raw mass spectrometry data files. Click Next. Supported file types (.raw, .wiff, .tdf., baf., d.tar, .htrms) depend on the MS platform.

- Download the appropriate FASTA file from UniProt and ensure the database is up to date. Import the FASTA file into Spectronaut for protein identification.

- Select the protein database to include in the search. Click Next.

- Select the search and extraction settings schema for the analysis.

a. Schemas: BGS Factory Settings (default)
i. Pulsar Search:

  - Peptides
a. Enzymes/Cleavage Rules: Trypsin/P
b. Digest Type: Specific
c. Decoy Generation Rule: KR
d. Max Peptide Length: 52
e. Min Peptide Length: 7
f. Missed Cleavages: 2
g. Toggle N-Terminal M: checked

  - Modifications
a. Max Variable Modifications: 5
b. Select Modifications:
i. Fixed: Carbamidomethyl (C)
ii. Variable: Acetyl (Protein N-term), Oxidation (M), Deamination (NQ)

  - Identification
a. PSM FDR: 0.01
b. Peptide FDR: 0.01
c. Protein Group FDR: 0.01
d. directDIA Workflow: directDIA+ (Deep)
i. RT Sampling Reduction: 1
e. PTM Localization Filter: unchecked

  - Tolerances
a. TOF Calibration Search: Dynamic

    - MS1 Correction Factor: 1

    - MS2 Correction Factor: 1
b. Main Search

    - MS1/MS2 Correction Factor: 1

  - Workflow
a. Fragment Ion Selection Strategy: Intensity Based
b. In-Silico Generate Missing Channels: unchecked
c. Use DNN Predicted Ion Mobility: Auto

  - Result Filters
a. Fragment Ions

    - Ion AA Length: checked

    - N: 3

    - m/z: checked (Min: 200, Max: 3000)

    - Relative Intensity: checked (Min: 1)
b. Precursor

    - Best N Fragments per Peptide: checked (3–6)
ii. DIA Analysis

  - XIC Extraction

    - IM Extraction Window: Dynamic (Correction Factor: 1)

    - RT Extraction Window: Dynamic (Correction Factor: 1)

  - Calibration

    - m/z Extraction Strategy: Maximum intensity

  - Identification

    - Precursor QValue Cutoff: 0.01

    - Precursor PEP Cutoff: 0.2

    - Protein QValue Cutoff (Experiment): 0.01

    - Protein QValue Cutoff (Run): 0.05

    - Protein PEP Cutoff: 0.75

    - Exclude Single Hit Proteins: unchecked

  - Quantification

    - Precursor Filtering: Identified (QValue)

    - Protein LFQ Method: Automatic

    - MS Level: MS2

    - Type: Area

    - Cross-Run Normalization: checked

      - Strategy: Automatic

      - Imputation: Use Background Signal

  - Workflow

    - MS2 DeMultiplexing: Automatic

    - Multi-Channel Definition: From Library Annotation

  - Protein Inference

    - Workflow: Automatic

    - Algorithm: IDPicker

  - Post Analysis

    - Differential Abundance Testing: Unpaired t-test

    - Grouping: Major Group (Quantification Settings)

    - Gene Ontology: GO-basic

    - Hierarchical Clustering: checked

  - Pipeline Mode

    - Generate SNE File: checked

    - Store Ion Traces in SNE: checked

- In the Experimental Design section, assign sample conditions and specify replicates to accurately reflect the study’s layout. Click Next.

- Specify gene annotation to gain further biological insights into the experiment. Click Next.

- Specify any additional raw files to create a hybrid library, which can improve the depth of proteome coverage. Click Next.

- Click Finish to commence the data analysis.

- Spectronaut uses the integrated Pulsar search engine to process the data.

- Upon completion of the analysis, navigate to the Post-Analysis tab.

- Navigate the Report tab to export the output tables. Customize the output tables by selecting relevant parameters. For the protein table, it is recommended to include the following: Molecular Weight, Protein Groups, Gene Name, Protein Description, Protein Name, Protein Identifier, Stripped Peptides, Quantity, Log2 Quantity. Output tables can be saved both .txt and .xlsx formats for downstream flexibility.