## Table_S1
Material name | Quantity | Unit | Unit / System | Key components
Aluminium block | 1 | piece | Body | Yes
DIN Rail | 1 | meter | Electronic | Yes
Filter 0.45 um | 1 | case | Flushing | Yes
Flexible insulation (hose) | 1 | piece | Coooling | Yes
Glass vials with caps 60 mL | 2 | cases | NA | Yes
Heating Rods | 3 | piece | Electronic | Yes
Hose | 3 | meter | Coooling | Yes
Injection needle | 1 | piece | Flushing | Yes
MCB - Siemens SENTRON | 1 | piece | Electronic | Yes
Sensors | 8 | piece | Electronic | Yes
Septa Red Butyl | 1 | bag | NA | Yes
Solid State Relay | 1 | piece | Electronic | Yes
Stainless steel housing and lid | 1 | piece | Housing | Yes
Thermostat DAQ | 1 | piece | Electronic | Yes
630 mA glass fuse | 1 | piece | Electronic | No
Adhesive sealant | 2 | piece | Body | No
Aluminum tape | 1 | piece | Body | No
Black wire | 5 | meter | Electronic | No
Blue wire | 5 | meter | Electronic | No
Brown wire | 5 | meter | Electronic | No
Cable gland | 12 | piece | Electronic | No
Closures | 3 | piece | Housing | No
Dual bridges | 4 | pieces | Electronic | No
Ethernet cable | 1 | piece | Electronic | No
Face mask | 1 | case | NA | No
Female connector | 1 | piece | Flushing | No
Flexible tube | 50 | feet | Flushing | No
Fuse holder terminal | 1 | piece | Electronic | No
Green/yellow wire | 5 | meter | Electronic | No
Handles | 4 | piece | Housing | No
Hinges | 3 | piece | Housing | No
Hose barb | 2 | piece | Coooling | No
Injection tube gas analizer 1/4" | 1 | piece | Flushing | No
Insulation material | 3 | piece | Body | No
Knee couplings | 2 | piece | Coooling | No
Large diameter tube 3/8" | 1 | piece | Flushing | No
M6 Screws, Hex | 5 | piece | Electronic | No
Main junction box | 1 | piece | Electronic | No
Male connector | 1 | piece | Flushing | No
Male Luer | 1 | piece | Flushing | No
PE/DND feedtrhough | 2 | piece | Electronic | No
Power Indication LED | 1 | piece | Electronic | No
Power supply | 1 | piece | Electronic | No
Quintople conductor bridges | 3 | piece | Electronic | No
Red wire | 5 | meter | Electronic | No
Ring Terminal 2.5mm² | 5 | piece | Electronic | No
Single conductor feedthrough | 2 | piece | Electronic | No
Single-phase power cable | 1 | piece | Electronic | No
Single-phase wire | 5 | meter | Electronic | No
Small junction box | 2 | piece | Electronic | No
Switch 2-way | 1 | piece | Electronic | No
Terminal bridge | 9 | piece | Electronic | No
Wago 3 conductor feedthrough | 9 | piece | Electronic | No
Wago connector | 10 | piece | Electronic | No
Wire end sleeves (100 pc) | 1 | box | Electronic | No
INTRUMENTS/ TOOLS
Cooler and natural cooling agent | 1 | piece | NA | Yes
Flow reduction kit | 1 | piece | NA | Yes
Gas analyzer | 1 | piece | NA | Yes
Circular saw | 1 | piece | NA | No
Spiral drill | 2 | piece | NA | No
Universal Milling Machine | 1 | piece | NA | No