## Extracted Study Data
Supplemental Table S2
Study ID | First author | Year | Reference no. | Review domain | Validation sample (n) | Reliability sample (n) | Population / participants | Task / movement | IMU system | No. of IMUs | Sensor placement | IMU sampling rate (Hz) | Reference system | Reference sampling rate (Hz) | Pelvic variables | Validity metrics reported | Reliability metrics reported | Key extracted used in synthesis | Source / DOI URL
1 | Bugane | 2014 | [30] | Validity | 16 |  | Healthy adults | walking at slow, self-selected, and fast speeds | F4A wireless inertial sensor | 1 | Single sensor close to sacrum, aligned with PSIS axis | 100 | 8-camera stereophotogrammetric gait analysis system Vicon 612, Vicon Motion Capture, Oxford, UK) | 100 | Pelvic tilt, obliquity, rotation | The root mean square difference (RMS), the correlation coefficient (r) and the differences between the mean values of corre- sponding angles curves and bias |  | A good match was observed for obliquity and rotation angles. For the tilt angle, the pattern and range of motion was similar, but a bias was observed (RMS Tilt = 0.73; Obliquity = 1.22; Rotation = 2.66) (Bias: Tilt −9.9 to −5.7; Obliquity −1.24 to −1.41; Rotation +0.71 to +1.5) (r =0.88–0.95) | https://doi.org/10.1186/1475-925X-13-146
2 | Bolink | 2016 | [22] | Validity | 17 |  | Healthy adults | Gait, sit-to-stand transfers, and step-up transfers | MicroStrain Inertia-Link IMU | 1 | Lower back / between posterior superior iliac spines (PSIS) | 100 | 8-camera VICON MOCAP system (+ force plate) | 200 | Primarily pelvic tilt (sagittal ROM) and pelvic obliquity (frontal ROM) | ICC (r), RMSE (°) and Pearson’s correlation coeﬃcient (r) between IMU and MOCAP measurements in gait, STS and BS. CI= confidence interval. |  | Best agreement was observed during gait. Gait values included ICC 0.96 and RMSE 2.70° (RMS Tilt = 2.7; Obliquity = 2.68) ( r 0.86–0.94) | https://doi.org/10.1016/j.medengphy.2015.11.009
3 | Ekdahl | 2023 | [31] | Validity | 11 |  | Healthy volunteers | Gait, overhead squat, heel touch, single-leg hop, drop vertical jump, lateral shuffle, deceleration, 45° cut | Delsys Trigno Avanti IMUs | 7 | Sacrum, anterior thighs, anterior shanks, dorsal feet | 240 | 14-camera Vicon motion capture system | 240 | Pelvic sagittal, coronal, and transverse ROM | Mean ROM difference between IMU-ROM and MOCAP-ROM across calibration methods |  | During gait, pelvic ROM differences between IMU and motion capture were generally small across calibration methods, with sagittal-plane pelvic (pelvic tilt) differences ranging from 0.67° to 2.13°, coronal-plane pelvic (pelvic obliquity) differences from −0.46° to 0.61°, and transverse-plane pelvic (pelvic rotation) differences from −0.72° to −0.87°. Overall, the pelvis showed fewer significant differences than the distal joints, although results varied by calibration method. | https://doi.org/10.3390/s23187987
4 | Perpiñá-Martínez | 2023 | [32] | Reliability |  | 29 | 101 healthy runners for normative values; 29 participants for test–retest reliability | Treadmill running at self-selected slow, medium, and fast speed categories | BTS G-Sensor | 1 | S1 / sacral level with ergonomic belt |  | No optical comparator (reliability-only study) |  | Pelvic tilt, obliquity, rotation |  | ICC | Reported good reliability for pelvic tilt and excellent reliability for pelvic obliquity and rotation (ICC: tilt 0.868; obliquity 0.963; rotation 0.922). | https://doi.org/10.3390/ijerph20043631
5 | Lebleu | 2020 | [35] | Validity and reliability | 7 | 7 | Healthy young adults | Walking, obstacle crossing, step ascent, and step descent; multiple functional calibration movements | x-IMU, x-io Techologies, Bristol, UK | 7 | Waist/L5, bilateral thighs, shanks, and feet | 128 | 8-camera Vicon motion analysis system (Vicon V5 Motion Systems, Oxford Metrics Ltd., Oxford, UK) | 200 | Pelvic sagittal, frontal, and transverse orientation | RMSE; absolute difference in ROM (ΔROM); drift | ICC; SEM | Pelvis had very high accuracy across planes and excellent reproducibility, especially in the sagittal plane. (RMS Tilt = 0.9–1.0; Obliquity = 1.1–1.2; Rotation = 1.5 | https://doi.org/10.3390/s20030715
6 | Lin | 2023 | [25] | Validity | 20 |  | Recreationally active adults | Running at 70%, 80%, 90%, and 100% of maximal speed on curved non-motorized treadmill | Xsens MVN Awinda | 7 | Sacrum plus bilateral mid-thigh, mid-shank, and foot sensors | 100 | 10-camera Vicon optical motion-capture system (Vicon, Oxford Metrics, Oxford, UK) | 200 | Pelvic tilt, obliquity, rotation | RMSE; normalised RMSE; Pearson correlation; Bland–Altman bias and limits of agreement; SPM |  | Pelvic orientation was less accurate than sagittal lower-limb kinematics; pelvic rotation had the highest RMSE Tilt = 4.31–4.59; Obliquity = 4.29–4.75; Rotation = 6.47–7.77 | https://doi.org/10.3390/s23239599
7 | Brice | 2022 | [29] | Validity | 8 |  | Elite female rowers | Ergometer rowing at 20, 24, 28, and 32 strokes/min | IMeasureU | 4 | T1, T7, L2, and S2 / pelvis | 500 | 14-camera Vicon motion-capture system | 250 | Sagittal-plane pelvis angle (S2) | RMSE; RMSE%; Bland–Altman bias and limits of agreement |  | IMUs provided acceptable sagittal-plane pelvis accuracy during rowing; pelvis range RMSE across stroke rates and IMUs generally detected stroke-rate-related changes similarly to the reference system. Tilt = 2.43–4.90, Bias: Tilt −2.70 to −0.09 | https://doi.org/10.1080/02640414.2022.2042146
8 | Asgari | 2025 | [27] | Validity | 6 |  | Recreational runners (validation subset from broader running cohort) | Running at four individualized speeds (estimated 1 km, 5 km, half-marathon, and marathon speeds) | APDM Opal IMU | 1 | Sacrum | 128 | 8-camera Motion Analysis optical motion-capture system |  | Pelvic tilt, obliquity, rotation | RMSE; Bland–Altman bias and limits of agreement |  | Using the Kalman filter, errors were low: tilt bias −0.10° with RMSE 1.06° instantaneous / 0.69° mean stride; obliquity bias −0.50° with RMSE 0.85° / 0.77°; rotation bias −0.49° with RMSE 1.54° / 1.22°. | https://doi.org/10.3390/s25020315
9 | Bessone | 2022 | [28] | Validity | 14 |  | Healthy adults | Walking / gait (plus other dynamic tasks in paper) | aktos-t IMU system | 16 | Pelvis plus feet, shanks, thighs, trunk, upper limbs, and head | 143 | 10-camera Vicon optoelectronic motion capture system | 200 | Pelvic tilt, obliquity, rotation | RMSE; bias; correlation r |  | For gait pelvis ROM, reported tilt RMSE 2.5° with very low tilt correlation (r = −0.011), obliquity RMSE 2.4° with r = 0.816, and rotation RMSE 2.9° with r = 0.834. | https://doi.org/10.1080/14763141.2019.1671486
10 | Kim | 2023 | [26] | Validity | 36 |  | Golfers (balanced by sex and skill level) | Golf swing | Custom IMU setup | 2 | T1 and L4; pelvic measure derived from L4 sensor | 100 | 10-camera 3D motion capture system |  | Pelvic rotation and pelvic obliquity (O-factor) | ICC; Pearson correlation; Bland–Altman mean difference |  | Strong agreement for pelvic rotation (ICC 0.99; r 0.99; mean diff 0.76°) and O-factor (pelvic obliquity) (ICC 0.91; r 0.92; mean diff 1.65°). | https://doi.org/10.3390/s23208433
11 | Ruiz-Malagón | 2023 | [33] | Validity | 16 |  | Healthy young men | Treadmill walking/running at 5, 10, and 15 km/h | RunScribe Sacral Gait Lab™ | 3 | One sacral sensor plus two foot sensors | 500 | 8-camera Qualisys motion-capture system | 250 | Pelvic tilt ROM, obliquity ROM, rotation ROM, vertical oscillation, maximal angular rates | Bias; correlation; ICC |  | Obliquity and rotation errors increased at higher speed; pelvic rotation bias reached −11.2° at 15 km/h. (Bias: Tilt +0.2 to +4.6; Obliquity −1.1 to −6.1; Rotation +0.7 to −11.2) (r −0.48 to 0.76) (ICC −1.62 to 0.83) | https://doi.org/10.3390/s23052604
12 | Zügner | 2019 | [34] | Validity | 49 |  | Patients after total hip arthroplasty (THA) | Walking | GaitSmart™ IMU system | 6 | Two pelvis sensors under iliac crest plus bilateral thigh and shank sensors | 102.4 | 12-camera Qualisys optical tracking system |  | Sagittal pelvic tilt only | Wilcoxon comparison; ICC; Bland–Altman mean difference / CI |  | Pelvic tilt showed a small mean difference (−0.5°) but poor ICC (0.08), indicating weak agreement in postoperative THA patients. | https://doi.org/10.1186/s12891-019-2416-4

## Notes
Data dictionary / notes
Purpose | This workbook provides study-level raw extracted data underlying the systematic review on IMU validity/reliability for pelvic orientation assessment.
Coverage | The raw-data sheet includes the 12 studies retained in the final review set.
Validation sample (n) | Number of participants used in validity analysis against a reference system. Blank where the study did not include criterion validity.
Reliability sample (n) | Number of participants used in reliability/test–retest analysis. Blank where reliability was not studied separately.
Review domain | Indicates whether the study contributed validity data, reliability data, or both.
Reference system | Gold-standard or comparator system used in the included study. Reliability-only studies may state that no optical comparator was used.
Pelvic variables | Pelvic orientation variables extracted for review synthesis (tilt, obliquity, rotation, or sagittal tilt only).
Validity metrics reported | Study-level validity statistics reported by authors (e.g., RMSE, bias, ICC, correlation, Bland–Altman, SEE, SPM).
Reliability metrics reported | Study-level reliability statistics reported by authors (e.g., ICC, SEM).
Key extracted findings | Condensed study-level notes used in the review synthesis and summary tables.
Source / DOI URL | Direct DOI-based source link for the included study.